## Slide 1
Quantum Graph Convolutional Networks
A Theory-to-Implementation Guide for Power Grid Reliability

## Slide 2
Abstract
This project develops a Quantum Graph Convolutional Network (QGCN) to predict power grid risk.
  The power grid is modeled as a network of connected substations.
  The model learns from voltage, power, and load patterns across the full network.
Main Contribution:
  A complete phase-wise implementation from data modeling to risk prediction.
  A hybrid approach that combines graph learning ideas with quantum feature processing.
Outcome:
  The system provides an early warning score for possible grid instability.
  This helps operators take preventive action and improve reliability.

## Slide 3
Problem Statement & Motivation
Goal: Predict grid instability early so operators can act before failure
  Power grid = graph (substations are nodes, transmission lines are edges)
  Failures spread through connections, not isolated points
Why Classical Methods Struggle:
  Need to model both node features and network topology
  Long-range dependencies are hard to capture efficiently
  High-dimensional state estimation is computationally expensive
QGCN Idea (Easy View):
  Encode each node into qubits
  Entangle neighboring nodes to share information
  Read out one risk score per node and one global risk score

## Slide 4
Simple Theory Behind the Model
Each substation has operational features such as voltage, power, and load.
  These features are converted into quantum-friendly values for processing.
  This conversion helps the model capture complex relationships efficiently.
Why Quantum Processing Helps:
  It can represent many interaction patterns in a compact way.
  It captures non-linear behavior that is common in real power systems.
  It supports network-level reasoning instead of isolated node decisions.
Practical Meaning:
  The model remains data-driven and practical for engineering use.
  Better feature representation leads to earlier and more reliable warnings.

## Slide 5
Model Architecture in Simple Steps
Step 1: Feature Encoding
  Convert each substation's features into a quantum-ready format.
Step 2: Quantum Processing
  Use trainable quantum layers to learn important signal patterns.
Step 3: Message Passing
  Share information between connected substations.
  This mimics how disturbances spread through the grid.
Step 4: Risk Prediction
  Convert learned node patterns into a clear probability of instability.
  Use this probability as an early-warning indicator for operators.

## Slide 6
Implementation Blueprint (Phase-by-Phase)
Phase 1 - Data Modeling (phase1_data_modeling.py)
  Create IEEE 14-bus graph; generate X shape (N, 14, 5) and labels y
Phase 2 - Quantum Embedding (phase2_quantum_embedding.py)
  Convert each node's 5 features into 4-qubit encoded representation
Phase 3 - Quantum Message Passing (phase3_quantum_layer.py)
  Apply VQC + neighbor interaction to produce robust node embeddings
Phase 4 - Training (phase4_training.py)
  Train the model to separate stable and unstable operating conditions.
  Output: probability of instability for each scenario

## Slide 7
Novelty of This Work
This project contributes a practical and structured QGCN workflow for power systems.
Key Novel Elements:
  Phase-wise end-to-end implementation from grid graph creation to risk prediction
  Hybrid design: graph topology learning + quantum-inspired feature processing
  Focus on operational relevance: output is an actionable instability probability
Why This Is Different:
  Not just a theoretical concept; includes executable modules for each stage
  Benchmarked against simple classical baselines to show practical benefit
  Designed as a reusable template for larger smart-grid reliability studies

## Slide 8
How It Helps: Results in Easy Terms
Model Performance (IEEE 14-bus, 250 samples):
  Run src/demo.py to generate current CPU-mode metrics in docs/EXECUTION_SUMMARY.md
  Interpretation: use those values for current run-specific discussion
Operational Value:
  Early-warning signal for dispatch/control-room teams
  Supports preventive actions: load balancing, rerouting, reserve activation
  Can be integrated as a risk-scoring module in smart-grid software
Simple Mental Model:
  Input: grid snapshot -> Process: quantum graph reasoning -> Output: risk probability
  If probability is high, operator gets an actionable alert
  Result: better reliability, lower outage risk, safer smart-city infrastructure

## Slide 9
Baseline Comparison (Why QGCN Is Useful)
We compared QGCN against simple classical baselines.
Voltage Rule Baseline:
  High accuracy on easy cases, but low recall for failure detection.
  Accuracy 0.88, Recall 0.40, F1 0.57
Logistic Regression Baseline:
  Struggles on complex network interactions.
  Accuracy 0.68, Recall 0.10, F1 0.11
QGCN Project Result:
  Balanced detection for real operations.
  Use docs/EXECUTION_SUMMARY.md for run-specific QGCN metrics
  Conclusion: QGCN is better when the priority is catching risky states early.